## Slide 1: Methods to improve the robustness of signal processing techniques for biomedical signals (such as ecg, eeg and emg) to noise, artifacts and variations in patient data
Shaifan Shaikh-92100133085
Jefin Kadamthodu-92100133013

## Slide 2: Introduction:

## Slide 3: Robustness in signal processing: why it matters: Robustness in signal processing refers to the ability of a system or algorithm to perform effectively and reliably in the presence of various uncertainties, disturbances, noise, and variations in the input signals Robustness in signal processing is critical for ensuring the reliability, adaptability, and effectiveness of signal processing systems in the face of the uncertainties and challenges presented by real-world data.

## Slide 4: Methods to enhance robustness of biomedical signal: 1. Optimizing signal acquisition techniques 2. Using advanced filtering techniques 3. Implementing quality control measures during data acquisition 4. Signal averaging 5. Filtering 6. Machine learning 7. Adaptive filtering 8. Multi-channel processing

## Slide 5: Artifact Removal Identification and Classification: 1. Muscle Artifacts 2. Baseline Drift 3. Environmental Noise 4. Power Line Interference (PLI) 5. Electromagnetic Interference (EMI) 6. Respiration Artifacts 7. Eye Blink Artifacts 8. Sweat Artifacts 9. Motion Artifacts 10.Speech or Vocal Artifacts

## Slide 6: Techniques for the identification and classification of these artifacts: 1. Visual Inspection 2. Threshold-Based Methods 3. Template Matching 4. Waveform Analysis 5. Frequency Domain Analysis 6. Time-Frequency Analysis 7. Independent Component Analysis (ICA) 8. Machine Learning 9. Hybrid Approaches 10. Real-Time Monitoring

## Slide 7: ECG Signals: An electrocardiogram (ECG) signal is a recording of the electrical activity of the heart. It is a non-invasive test that is commonly used to diagnose heart conditions. The ECG signal consists of a series of waves that represent the electrical activity of the heart as it contracts and relaxes.

## Slide 8: EEG signals: The EEG is an electrophysiological technique for the recording of electrical activity arising from the human brain

## Slide 9: EMG Signals: EMG stands for electromyography. It is the study of muscle electrical signals. EMG is sometimes referred to as myoelectric activity. Two common types of EMG signals: 1. Surface EMG(sEMG) 2. Intramuscular EMG(iEMG) sEMG is collected non-invasively through electrodes placed on the skin's surface, is the preferred choice for most clinical applications. iEMG, on the other hand, offers a more detailed view of muscle activity as it involves inserting fine needle electrodes directly into the muscle

## Slide 10: To improve the robustness of signal processing techniques for EMG signals, the following strategies can be employed: 1. Using advanced filtering techniques such as bandpass filters to remove noise and unwanted artifacts from EMG signals. 2. Exploring the use of deep learning models to effectively remove noise and artifacts from EMG signals. 3. Implementing signal normalization techniques to account for variations in signal amplitude and baseline shifts. 4. Applying motion artifact removal techniques for EMG signals, as EMG signals are susceptible to motion artifacts caused by muscle movements or external forces. 5. Analysing and understanding the specific characteristics of EMG signals, such as their frequency content and temporal patterns, in order to develop tailored signal processing algorithms that can effectively detect and remove noise and artifacts from the signals. 6. Utilizing signal quality assessment algorithms to detect and flag segments of EMG signals that are affected by noise or artifacts, allowing for targeted processing and mitigation strategies to be applied.

## Slide 11: Conclusion:

## Slide 12: Thank You